…………………………..GRAMAPANCHAYAT

Work Order

W.O. No. …………………………                                                  Dated: …/…/2007

To

M/s ……………………

…………………………..

Sub.: Supply, Installation and maintenance of networking – reg.

Ref.:	1)	G.O. (MS) no. 168/2007/LSGD dated 25.06.2007

- Our purchase order no. ……… for supply of computers and peripherals

As per the references cited, you are requested to supply the following items as per the specification, rates and conditions mentioned below:

# 1. Schedule of Rates

| S/N | DGS&D RC Item no. | Item | Appx. Quantity | Unit rate | Tax (4%) | Amount |
| --- | --- | --- | --- | --- | --- | --- |
|  | 203 | Cabling CAT6 UTP cable | ½ Box (150m) | 3708 | 148 | 1928 |
|  | 204 | Information outlet | 6 nos. | 100 | 4 | 624 |
|  | 205 | Surface mount box CAT6, Single Port | 6 nos. | 95 | 4 | 594 |
|  | 207 | Patch cord CAT 6 (1m) | 6 nos. | 99 | 4 | 618 |
|  | 208 | Patch cord CAT 6 (2m) | 6 nos. | 125 | 5 | 780 |
|  | 209 | Patch panel 24 Port CAT 6 | 1 no. | 3900 | 156 | 4056 |
|  | 211 | Conduit/Meter for 2.54cm | 70 m | 20 | 1 | 1470 |
|  | 197 | 6U rack | 1 no. | 3400 | 136 | 3536 |
|  | 213 | Laying UTP Cable/ Meter | 150 m | 6 | 0 | 900 |
|  | 214 | Laying Conduit/ Meter | 70 m | 7 | 0 | 490 |
|  | 215 | Fixing Information Outlet / Unit | 6 nos. | 10 | 0 | 60 |
|  | 216 | Fixing patch panel/ unit | 1 no. | 5 | 0 | 5 |
|  | 217 | Fixing Rack per Unit | 1 no. | 100 | 4 | 104 |
|  |  | Total |  |  |  | 15165 |

# 2. Specifications

| 2.1. Networking |
| --- |
| DGS&D item no. 203 | Networking Tools - Cabling and other component: 250 MHz CAT 6Cable(305m Box) |
| DGS&D item no. 204 | Networking Tools - Cabling and other component: Information Outlet |
| DGS&D item no. 205 | Networking Tools - Cabling and other component: Surface Mount Box CAT6, Single Port |
| DGS&D item no. 207 | Networking Tools - Cabling and other component: Patch cord CAT6(1m) |
| DGS&D item no. 208 | Networking Tools - Cabling and other component: Patch cord CAT6(2m) |
| DGS&D item no. 209 | Networking Tools - Cabling and other component: 24 Port CAT6 Patch Panel |
| DGS&D item no. 211 | Networking Tools - Cabling and other component: Conduit per meter for 2.54 cm(1”) |
| DGS&D item no. 197 | Networking Tools – Racks: Size: 48cm (19") 6 U Rack in 500mm section |
| DGS&D item no. 213 | Type of Installation of Networking Products : Laying UTP Cable Per Meter |
| DGS&D item no. 214 | Type of Installation of Networking Products : Laying Conduit Per Meter |
| DGS&D item no. 215 | Type of Installation of Networking Products : Fixing Information Outlet Per Unit |
| DGS&D item no. 216 | Type of Installation of Networking Products :Fixing Rack per Unit |
| DGS&D item no. 217 | Installation of Networking Products: Type of installation of Networking Products: Fixing Rack per Unit |

# 3. CONDITIONS

- The quantities given are approximate. The quantity may vary depending up on the actual site conditions. Payment shall be based on actual quantities installed (including cabling and conduit laid).

- An agreement in stamp paper shall be executed and submitted along with a signed copy of this order as token of acceptance of the order, within 5 days of receipt of the order. The agreement should specify the service levels.

- Delivery, installation and commissioning shall be completed within 4 weeks of receipt of the intimation regarding site readiness for networking.

- The vendor shall provide onsite support for all equipment during the warranty period. Minimum service levels shall be met and the penalties at the rate of Rs.100 per day shall be charged, from 24 hours after problem reporting.

- 90% payment shall be released on installation and testing; 10% of the payment shall be withheld as security deposit for the warranty period.

SECRETARY

…………………….. Grama Panchayat